## Slide 1
Actions
Automate Data Capture and Storage
01
Web
Application
The operator enters part details and starts a run on the web.
02
TM-X Measurement
Control
The system directs TM-X to measure each part and receives the values.
03
Result Decision
& Auto Save
The system decides OK/NG and automatically saves each result and its part details in the database.
Each measured part has a complete record.
Notes: Action: operator enters part information on the web; TM-X supplies values and image; the system stores each result immediately.

## Slide 2
Actions
Standardize and Centralize Data Access
01
Database
Part details and measurements stay linked in one relational database.
02
Dashboard
The dashboard summarizes measurement results, refreshes daily, and can be accessed instantly via a link.
One daily view of results for production and quality teams.
Notes: Power BI is refreshed daily, so the dashboard is a daily summary rather than a live measurement feed. The source deck describes Good/Fail counts by package size and part number and a yield trend.